## Sheet1
UPS TESTING RECORD
MAKE | DATE | TEST STARTING TIME TIMINGS | NUMBER OF SYSTEM | BACK UP TIMINGS
CALIBRE | 2024-02-02 | 14:30 | 21 systems - 2 printer | 1 : 45 minutes
LUMINOUS | 2024-02-02 | 14:30 | 6 SYSTEMS | 2:30 minutes
CALIBRE | 2024-03-01 | 6:01pm | 14 Desktop - 2 printer | 6 hours
LUMINOUS | 2024-03-01 | 6:01pm | 2 Desktop 5 laptops | 6 hours
CALIBRE | 2024-03-11 | 3:45pm to 4:24pm | 22 systems - 2 printer | 39min
LUMINOUS | 2024-03-11 | 3:45pm to 4:24pm | 7 SYSTEMS | 39min
CALIBRE | 2024-05-06 | 3:00 PM TO 5: 10PM | 15 systems - 2 printer | 2HR 10 MIN
LUMINOUS | 2024-05-06 | 3:00 PM TO 5: 10PM | 7 LAPTOP 1 SYSTEM | 2HR 10 MIN
CALIBRE | 2024-05-11 | 9:30 AM to 11 : 00 pm | 15 systems - 2 printer | 2HOURS
LUMINOUS | 2024-05-11 | 9:30 AM to 11 : 00 pm | 7 LAPTOPS | 2HR 30 MIN
CALIBRE | 2024-06-08 | 11:AM to 12:05pm | 15 systems - 2 printer | 1 hour 5min
LUMINOUS | 2024-06-08 | 11:AM to 12:05pm | 7 LAPTOPS | 1 hour 5min
CALIBRE | 2024-07-19 | 11:55am to 1:15pm | 15 systems - 2 printer | 1 hour 20min
LUMINOUS | 2024-07-19 | 11:55am to 1:15pm | 7 LAPTOPS | 1 hour 20min
CALIBRE | 2024-08-30 | 3:00pm to 4: 23pm | 16 systems - 2 printer | 1:23 min
LUMINOUS | 2024-08-30 | 3:00pm to 4: 23pm | 10 LAPTOPS | 1:23 min

## Sheet2
UPS TESTING RECORD
MAKE | DATE | TEST STARTING TIME TIMINGS | NUMBER OF SYSTEM | BACK UP TIMINGS
CALIBRE | 2024-02-21 | 12:49 pm to 1:12pm | 21 systems - 2 printer | 23min
LUMINOUS | 2024-02-21 | 12:49 pm to 1:12pm | 6 SYSTEMS | 23min
CALIBRE | 2024-03-01 | 6:01pm | 14 Desktop - 2 printer | 6 hours
LUMINOUS | 2024-03-01 | 6:01pm | 2 Desktop 5 laptops | 6 hours
CALIBRE | 2024-03-11 | 3:45pm to 4:24pm | 22 systems - 2 printer | 39min
LUMINOUS | 2024-03-11 | 3:45pm to 4:24pm | 7 SYSTEMS | 39min
CALIBRE | 2024-05-06 | 3:00 PM TO 5: 10PM | 15 systems - 2 printer | 2HR 10 MIN
LUMINOUS | 2024-05-06 | 3:00 PM TO 5: 10PM | 7 LAPTOP 1 SYSTEM | 2HR 10 MIN
CALIBRE | 2024-05-11 | 9:30 AM to 11 : 00 pm | 15 systems - 2 printer | 2HOURS
LUMINOUS | 2024-05-11 | 9:30 AM to 11 : 00 pm | 7 LAPTOPS | 2HR 30 MIN
CALIBRE | 2024-06-08 | 11:AM to 12:05pm | 15 systems - 2 printer | 1 hour 5min
LUMINOUS | 2024-06-08 | 11:AM to 12:05pm | 7 LAPTOPS | 1 hour 5min
CALIBRE | 2024-07-19 | 11:55am to 1:15pm | 15 systems - 2 printer | 1 hour 20min
LUMINOUS | 2024-07-19 | 11:55am to 1:15pm | 7 LAPTOPS | 1 hour 20min